# ABSTRACT

The CarePulse Smart Monitoring System represents a modern, IoT-driven solution for enhancing patient hygiene management in healthcare environments. Built upon a decoupled architecture, the system employs ESP32 microcontrollers for real-time telemetry acquisition, transmitting data to a high-performance Python FastAPI backend. A custom deterministic Rule Engine analyzes raw sensor data in conjunction with patient clinical profiles to dynamically generate actionable alerts. These alerts, alongside comprehensive analytics, are presented through a responsive React and Tailwind CSS dashboard. Furthermore, the system integrates Google Gemini AI to distill complex telemetry trends into meaningful, natural language monitoring insights. Ultimately, this project bridges the gap between raw hardware signals and healthcare administration, demonstrating a scalable framework for continuous, non-invasive patient monitoring.

# ACKNOWLEDGEMENT

I would like to express my sincere gratitude to my project guide and faculty for their continuous support and guidance throughout the duration of this Master of Computer Applications (MCA) project. Their insights and feedback have been invaluable in shaping the CarePulse Smart Monitoring System. I also extend my thanks to the department and the institution for providing the necessary resources and environment to complete this project successfully.

# TABLE OF CONTENTS

1. INTRODUCTION\n2. SYSTEM REQUIREMENTS SPECIFICATION\n3. SYSTEM ANALYSIS\n4. DATABASE DESIGN\n5. DETAILED DESIGN\n6. IMPLEMENTATION AND CODING\n7. SOFTWARE TESTING\n8. CONCLUSION AND FUTURE ENHANCEMENTS\n9. REFERENCES

# CHAPTER 1

1. INTRODUCTION

1.1 Introduction of the System:
The integration of the Internet of Things (IoT) and Artificial Intelligence (AI) in the healthcare sector has revolutionized patient care and monitoring. CarePulse is a comprehensive, state-of-the-art healthcare management system that automates the monitoring of diaper wetness for patients. The system utilizes an ESP32-based hardware module paired with a capacitive moisture sensor to track moisture levels and device battery status, transmitting telemetry data to a centralized FastAPI backend. 

This data is processed in real-time, triggering automated alerts when wetness thresholds or battery levels cross specific limits. A modern React-based web interface allows administrators and caregivers to manage patients, monitor active devices, and visualize health data. Furthermore, CarePulse features a two-tiered intelligence system: a Level 3 Rule Engine that calculates numerical risk scores and trend directions, and a Gemini 2.0 Flash integration that generates narrative clinical summaries and caregiver recommendations based on the raw telemetry and alert data.

1.1.1 Project title:
CarePulse – AI Enhanced Smart Diaper Monitoring and Healthcare Management System

1.1.2 Category:
Internet of Things (IoT), Artificial Intelligence, and Full Stack Web Development

1.1.3 Overview:
"CarePulse" addresses the critical need for maintaining patient hygiene and comfort in healthcare facilities. Manual diaper checking is labor-intensive and often delayed, which can lead to skin infections and patient discomfort. The system automates this process through continuous IoT telemetry tracking. By combining real-time alert generation (such as high wetness or low battery warnings) with rule-based risk scoring and AI-generated clinical narrative reports, CarePulse minimizes caregiver workload while maximizing the quality of clinical care.

*(Source Reference: `backend/app/models.py`, `backend/app/routers/gemini.py`, `src/App.tsx`)*

1.2 Background:

1.2.1 Brief note on Existing System:
At present, diaper monitoring in healthcare facilities and home care environments is predominantly a manual process. Caregivers are required to perform routine physical checks at scheduled intervals to determine if a patient requires a diaper change. While some rudimentary moisture-sensing alarm products exist, they suffer from significant limitations:
*   Lack of Remote Monitoring: Existing standalone alarms rely on audible buzzers, which are ineffective in large wards or remote care scenarios.
*   No Data Logging: Traditional methods do not record urination events in a persistent database, making it impossible to analyze long-term health trends or bladder functionality.
*   Absence of Predictive Analytics: Existing systems cannot calculate risk scores or trend directions (e.g., comparing current urination frequency to the previous 7 days) based on historical data.
*   Inefficiency: Manual checking disrupts patient rest and places a heavy, repetitive burden on the nursing staff.

*(Source Reference: Derived from the database schema goals in `backend/app/models.py` which explicitly models `UrinationEvent`, `AIInsight`, and `Telemetry` to solve these issues).*

1.3 Objective of the System:
*   To create an automated IoT monitoring system that captures real-time diaper wetness and battery telemetry via an ESP32 microcontroller.
*   To develop a highly responsive web dashboard using React and TypeScript for caregivers to monitor multiple patients simultaneously.
*   To implement a real-time alert generation mechanism that notifies staff of critical events like high saturation, device offline status, or low battery.
*   To utilize a dual-layer AI analysis engine (CarePulse Rule Engine and Google Gemini 2.0 Flash) to evaluate time-series urination data, calculating risk levels (Low/Moderate/High/Critical), trend directions (Up/Down/Stable), and generating clinical narrative summaries.
*   To provide an efficient patient and device management interface allowing administrators to map specific IoT sensors to specific patients within hospital wards.

*(Source Reference: Objectives mapped directly to the API endpoints in `backend/app/main.py`, `backend/app/routers/gemini.py`, and the routing structure in `src/App.tsx`).*

1.4 Scope of the Project:
The system centers around automated, non-invasive healthcare monitoring. It is designed to capture telemetry data (raw moisture levels, wetness percentage, and battery percentage) over Wi-Fi networks and process it through a secure backend API. The software scope includes a full-stack web application encompassing patient registries, device assignment, analytical graphs, and AI-generated insights. The hardware scope is limited to the ESP32 microcontroller architecture. The system operates on role-based access for Administrators and Caregivers and is intended for use in hospital wards, nursing homes, and domestic care environments.

*(Source Reference: `backend/app/models.py` [User, Patient, Telemetry tables], `backend/app/routers/auth.py`)*

1.5 Structure of the System:
The application and hardware architecture are divided into the following major modules:

1.5.1 Module description:

Admin & Caregiver Web Module:
*   Dashboard: Provides a high-level overview of active alerts, patient statuses, and system metrics.
*   Patients Management: Enables staff to register patients, record disease severity and diagnosis dates, assign ward/room locations, and map patients to specific IoT device IDs.
*   Devices Management: Monitors deployed ESP32 sensors, displaying their current connection status, battery percentage, and firmware version (if available).
*   Alerts Management: Displays automated system alerts categorized by severity (critical, warning, info) and type (high wetness, low battery), allowing staff to mark them as resolved.
*   Analytics: Visualizes patient telemetry data through interactive charts, showing wetness trends and daily urination frequencies over time.
*   AI Insights: Interfaces with the backend rule engine and Gemini API to display computed health risks, trend percentages, and clinical recommendations based on a patient's historical data.

IoT Device Module:
*   Telemetry Sender: Collects analog data from the capacitive moisture sensor and battery voltage, securely transmitting it to the backend via HTTP POST requests.

*(Source Reference: `src/pages/*` [DashboardPage, PatientsPage, AlertsPage, AnalyticsPage, AIInsightsPage, DevicesPage], `backend/app/models.py` [Telemetry, Patient, Alert])*

1.6 System Architecture:
System architecture involves breaking down a complex system into manageable sub-systems. CarePulse follows a modern decoupled architecture:

```mermaid
graph TD
    subgraph Edge Layer [Hardware/IoT]
        ESP32[ESP32 Microcontroller] --> |HTTP POST| API
        Sensor[Capacitive Moisture Sensor] --> ESP32
    end

    subgraph Presentation Layer [Frontend]
        React[React + TypeScript + Vite]
        React --> |REST API| API
    end

    subgraph Business Logic Layer [Backend]
        API[FastAPI Server]
        RuleEngine[CarePulse Rule Engine]
        API --> RuleEngine
        API --> Gemini[Google Gemini 2.0 Flash API]
    end

    subgraph Database Layer [Storage]
        SQL[SQLite / MySQL Database]
        API --> |SQLAlchemy ORM| SQL
    end
```

*(Source Reference: Generated directly from the project structure: `backend/app/main.py`, `package.json`, `backend/requirements.txt`, and `backend/app/routers/gemini.py`)*

1.7 End Users:
The primary end users of the system are Administrators and Caregivers.
*   Role-Based Access: Users access the web portal via a secure JWT authentication mechanism. They can oversee patient health, resolve triggered alerts, manage IoT hardware assignments, and review AI-generated clinical summaries to improve patient care.

*(Source Reference: `backend/app/models.py` [User table role field], `backend/app/routers/auth.py`)*

1.8 Software/Hardware used for the development:
*   Visual Studio Code: The code editor used for developing both the frontend React application and the backend Python APIs.
*   React & Vite: React (with TypeScript) is used for building the modular, state-driven user interface. Vite serves as the fast build tool and development server.
*   Tailwind CSS & Radix UI: Utilized for crafting the responsive, modern UI design and accessible components.
*   Recharts: A composable charting library built on React components used for the analytics dashboard.
*   FastAPI (Python): A high-performance web framework for building the backend RESTful APIs, chosen for its speed and native asynchronous support.
*   SQLAlchemy: An Object Relational Mapper (ORM) utilized to bridge the Python business logic with the SQL database, ensuring secure and structured data transactions.
*   Passlib & python-jose: Libraries utilized for bcrypt password hashing and secure JWT token generation.
*   Google GenAI SDK: Used to interface with the Gemini 2.0 Flash model for clinical narrative generation.

*(Source Reference: `package.json`, `backend/requirements.txt`)*

1.9 Software/Hardware required for implementation:

1.9.1 Hardware Requirements:
*   Server/PC: Processor: Intel Core i5 / AMD Ryzen 5 or above, RAM: 8GB or above, Hard Disk: 50GB or above.
*   IoT Hardware: ESP32 Microcontroller, Capacitive Moisture Sensor, Li-Po Battery.

1.9.2 Software Requirements:
*   Operating System: Windows 10/11, Linux, or macOS.
*   Languages Used: Python (Backend), TypeScript/JavaScript (Frontend), HTML/CSS.
*   Database: MySQL or SQLite.
*   Core Libraries/Frameworks: React, React Router, Vite, Tailwind CSS, FastAPI, Pydantic, Uvicorn, SQLAlchemy.

*(Source Reference: `backend/requirements.txt`, `package.json`, `tsconfig.json`)*

# CHAPTER 2

2. SOFTWARE REQUIREMENT ANALYSIS AND SPECIFICATION

2.1 Introduction:
The Software Requirement Specifications (SRS) is a document that fully describes the software's external behavior. The primary task of a software developer is to study the system to be developed and outline the user requirements before moving on to the design phase. This document helps us understand how the CarePulse system behaves and responds to caregivers, administrators, and IoT hardware inputs.

2.2 Overall Description:
This section of the SRS outlines the general factors of the products and their requirements.

2.2.1 Product Perspective:
Product perspective refers to how one product relates to another. It determines whether a product stands alone or is part of a larger product. The architecture used in this project is a multi-tier architecture integrated with an Internet of Things (IoT) edge layer. It includes:
*   IoT Edge Layer: The ESP32 hardware and capacitive moisture sensor.
*   Presentation Layer: The React, TypeScript, and Tailwind CSS web application.
*   Business Logic Layer: The FastAPI Python backend, integrating both a Rule Engine and the Google Gemini API.
*   Database Layer: An SQLite relational database configured for development, structured via SQLAlchemy ORM (with MySQL compatibility for production).

2.2.2 Product Function: 
The CarePulse system provides the following specific functions:
*   Login & Authentication: JWT bearer token issuance for secure access.
*   Add / Update Patients: Register new patients and update their medical conditions, disease severities, and ward/room locations.
*   Archive / Unarchive Patients: Soft-delete functionality to preserve historical data while hiding inactive patients from active views.
*   Device Mapping: Assign unique `device_id` identifiers to specific patients to route telemetry data accurately.
*   Receive Telemetry: Ingest unauthenticated HTTP POST requests from ESP32 devices containing moisture and battery percentages.
*   Record Diaper Change: A caregiver function to resolve active high-wetness alerts and log the change timestamp.
*   Generate Alerts: Automated rule-engine triggers for high wetness and low battery thresholds.
*   AI Reporting: Calculates a composite risk score (0-100) based on telemetry and alert history, and retrieves AI-generated clinical summaries, caregiver recommendations, nursing notes, and priority actions.

*(Derived from: `backend/app/routers/patients.py`, `backend/app/routers/telemetry.py`, `backend/app/routers/gemini.py`, `backend/app/routers/auth.py`)*

2.2.3 User Characteristics:
The CarePulse system is designed for the following end-users:
*   Administrator & Caregiver Roles: Protected via the `/auth/login` endpoint. Both roles utilize the web portal to view patient dashboards, record diaper changes, review AI insights, and resolve active alerts. 

2.2.4 General Constraints:
*   Network Dependency: The ESP32 hardware strictly requires a stable Wi-Fi connection to transmit telemetry data to the server's API endpoints.
*   Mandatory Fields: All crucial patient registration fields (name, age, ward, room, device_id) must be provided accurately.
*   Data Consistency: The system requires a relational database to enforce Foreign Key constraints (e.g., cascading deletes for alerts and urination events if a patient record is completely purged).

2.2.5 Assumption:
*   The caregiver should be familiar with basic computer navigation and web browsing.
*   The system is completely dependent on an active intranet/internet connection for both the dashboard and the hardware components.
*   The physical moisture sensors are properly placed and powered on the patient.

2.3 Special Requirements:
This section describes all the details that the system developer needs to know for designing and developing this system. These requirements can be organized by the modes of operation, user class object, features, and functional hierarchies.

2.3.1 External Internal Requirements:
It specifies all the interfaces of the system: to the people, hardware, and other systems.

2.3.1.1 User Interface:
*   The caregiver can access the dashboard through any modern web browser.
*   A side-navigation layout (Dashboard, Patients, Devices, Alerts, Analytics, AI Insights) is provided for easy access.
*   A strict validation boundary is provided at the login form. On successful validation, a JSON Web Token (JWT) is stored, granting permission to use the system.

2.3.1.2 Hardware Interface:
*   Client Devices: Any desktop, laptop, or tablet that has a web browser installed.
*   IoT Devices: The ESP32 microcontroller interfaces with analog capacitive moisture sensors and battery voltage dividers, operating continuously.

2.3.1.3 Software Interface:
*   Web Browser: Used for the React-based Presentation Layer.
*   RESTful APIs: The backend communicates via JSON payloads through FastAPI endpoints over HTTP/HTTPS.

2.3.1.4 Communication Interface:
*   TCP/IP & HTTP: Standard networking protocols used for all client-to-server and IoT-to-server communication.

*(Derived from: `src/App.tsx`, `backend/app/models.py`, `backend/app/routers/telemetry.py`)*

2.4 Functional Requirements:
*   Patient Management Module: This module is used to add the details of patients. Patients can be added, updated, soft-archived, or unarchived. Device IDs are mapped to patients in this module.
*   Telemetry Ingestion Module: Receives POST requests from ESP32 devices containing raw moisture integers, calculated wetness percentages, and battery levels. The backend utilizes FastAPI's `BackgroundTasks` to process this incoming packet asynchronously without delaying the HTTP response.
*   Diaper Change Module: Allows caregivers to click a button to record a diaper change, automatically marking any active high-wetness alerts as resolved.
*   Alert Generation Module: A rule-engine background task that analyzes incoming telemetry against thresholds to flag warnings (specifically `high_wetness` if saturation >= 75%, and `low_battery` if <= 20%).
*   AI Reporting Module: Utilizing logic within `backend/app/services/disease_ai.py` and `backend/app/routers/gemini.py`, the system calculates a composite risk score (based on recent telemetry and active alerts), computes a 7-day urination trend direction, and utilizes the Google Gemini API to return exact structured outputs including: `clinical_summary`, `caregiver_recommendation`, `nursing_notes`, `monitoring_plan`, `priority_actions`, and `patient_explanation`.
*   Login Module: Allows users to enter their email and password to receive a JWT access token for the session.

*(Derived from: `backend/app/routers/patients.py`, `backend/app/services/telemetry_processor.py`, `backend/app/routers/gemini.py`)*

2.5 Design Constraints:
*   Database: The application is explicitly configured to use SQLite (`sqlite:///./carepulse.db`) as its local relational database, managed via SQLAlchemy, with architecture structured to support a transition to MySQL for production deployments.
*   Frontend Technologies: The presentation layer shall be implemented using React, TypeScript, and Tailwind CSS.
*   Backend Technologies: The API layer shall be implemented using Python and FastAPI.
*   Error Handling: The application shall display intuitive HTTP error responses (e.g., 404 Not Found, 409 Conflict) when a validation rule is violated, such as duplicate `device_id` assignment.

2.6 System attributes:
This section of the CarePulse SRS describes the application's non-functional attributes and properties.
*   Availability: The CarePulse backend server shall be available 24x7 to continuously receive incoming telemetry from active hardware sensors.
*   Security: The system shall be protected via JWT Bearer authentication and password hashing using bcrypt via the Passlib library.
*   Maintainability: The use of distinct layers (React frontend, FastAPI backend, SQLAlchemy models) ensures that the codebase can be independently updated and tested.
*   Timeliness: Real-time telemetry is processed instantly via FastAPI's `BackgroundTasks`, ensuring alerts are evaluated asynchronously without interrupting the device's POST operation.

*(Derived from: `backend/app/database.py`, `backend/requirements.txt`, `backend/app/routers/telemetry.py`)*

# CHAPTER 3

3. SYSTEM DESIGN (FUNCTIONAL DESIGN)

3.1 Introduction:
System design is the structure constructed on the basis of the system analysis. The design phase is aimed at designing a solution to the problem stated by the requirements. System design portrays the data to be entered, processed, and stored. It strives to determine the modules that must be included in the system, the definition of these modules, and how they work together to generate the desired outcome. At the conclusion of this phase, all major data flow structures and algorithmic logic processing are determined based directly on the backend's Python implementation.

3.2 Assumptions and Constraints:
At the outset of the project, assumptions and limitations are determined to establish boundaries for the functional design.
*   Assumptions: IoT sensors transmit data reliably over Wi-Fi. The backend runs continuously to evaluate background tasks. 
*   Constraints: The telemetry processing algorithm must deduplicate high-frequency sensor readings (e.g., analog noise) to prevent database bloat, converting raw continuous data into discrete, meaningful monitoring events (Dry -> Wet -> High).

3.3 Functional Decomposition:
Functional decomposition is the process of breaking down a functional relationship into its component pieces so that function components can be used to reconstruct the original system.

3.3.1 System Software Architecture:
The CarePulse software architecture is a decoupled, three-tier system:
*   Presentation Layer (Frontend): Includes user interfaces built using React, TypeScript, and Tailwind CSS. State management handles JWT tokens and dynamic data fetching.
*   Business Logic Layer (Backend): Built with Python and FastAPI. This layer manages the asynchronous `BackgroundTasks` for processing telemetry, validating JWT tokens, and executing the CarePulse alert logic.
*   Database Layer: Managed via SQLAlchemy ORM mapping directly to an SQLite database.

3.3.2 System Hardware Architecture:
The hardware architecture relies on a specialized edge device:
*   An ESP32 Microcontroller serves as the central processing unit at the edge.
*   A Capacitive Moisture Sensor acts as the input peripheral, taking analog readings of the diaper's state.
*   The hardware operates autonomously, connecting to the hospital or home Wi-Fi to execute HTTP POST requests directly to the backend's `/telemetry` endpoint.

3.3.3 External Interface:
*   Application Name: CarePulse
*   Interface Type: Graphical User Interface (Web-based Application) & RESTful JSON API.

3.4 Algorithm:

The Telemetry Processing Algorithm is responsible for validating incoming telemetry, eliminating duplicate readings, generating alerts, and triggering AI analysis when predefined conditions are satisfied.

Algorithm 1: Telemetry Processing & Alert Generation Pipeline
*   STEP 1: Receive incoming telemetry packet (device ID, wetness percent, battery percent).
*   STEP 2: Query the database to map the `device_id` to an active Patient ID. If unmapped, mark as processed and exit.
*   STEP 3: Retrieve the patient's latest historical `UrinationEvent`.
*   STEP 4: Evaluate state transitions to deduplicate data. Create a new event ONLY IF:
    *   It is the first reading.
    *   A state transition occurred (Dry ↔ Wet ↔ High).
    *   Wetness changed by ≥ 10% within the same state.
    *   ≥ 5 minutes have elapsed with a ≥ 5% change.
*   STEP 5: Evaluate High Wetness alerts. If wetness ≥ 75%, generate a `warning` or `critical` alert. If < 75%, resolve any active wetness alerts for that patient.
*   STEP 6: Evaluate Low Battery alerts. If battery ≤ 20%, generate a `warning` or `critical` alert. If ≥ 25%, resolve active battery alerts.
*   STEP 7: Check AI Cooldown. If 300 seconds have passed since the last update, trigger the AI Insight engine.
*   STEP 8: Commit all transactions to the SQLite database and exit.

*(Implemented in: `backend/app/services/telemetry_processor.py`)*


The AI Health Risk Algorithm evaluates historical data to quantify a patient's current risk level, utilizing dynamic scoring logic across continuous telemetry streams, alert volumes, and baseline metrics to produce actionable AI-generated health insights.

Algorithm 2: Composite Risk & Trend Calculation
*   STEP 1: Query all `UrinationEvent` records for the patient over the past 7 days.
*   STEP 2: Compute telemetry metrics: Event Count, Average Wetness, Peak Wetness, and Average Daily Frequency.
*   STEP 3: Query active and historical `Alert` records to compute active volumes and critical severities.
*   STEP 4: Calculate the Composite Risk Score (out of 100) using a dynamic scoring function:
    *   Telemetry Score (max 40): Normalizes average wetness, maximum wetness, and average daily frequency into a weighted score.
    *   Alert Score (max 25): Calculates based on the volume of active unresolved alerts (x5 multiplier) and critical active alerts (x5 multiplier), capping out at 25.
    *   Severity Score (max 20): Translates text severity strings (`mild=0`, `moderate=5`, `severe=10`, `critical=20`) into numerical values.
    *   Disease Base (max 15): Retrieves a baseline risk modifier from the patient health profile lookup dictionary.
*   STEP 5: Split the 7-day readings chronologically into a first-half and second-half dataset.
*   STEP 6: Compute the Trend Direction (`up`, `down`, `stable`) by measuring the percentage change in wetness and frequency between the two halves.
*   STEP 7: Compute a Data-Driven Confidence Score (50-99%) based on data volume, recency, and standard deviation consistency.
*   STEP 8: Persist the generated `AIInsight` to the database.

*(Implemented in: `backend/app/services/disease_ai.py`)*

3.5 Description of Programs:

3.5.1 Context Flow Diagram (CFD - Level 0):
A Context Flow Diagram generalizes the functions of the entire system in relation to external entities.

![CFD Diagram](C:\Users\admin\.gemini\antigravity-ide\brain\7b6c0971-bb7b-4823-9e1e-90ee70faf473\cfd_diagram_1784627462055.png)
*(Note: As an AI, I generated these structural placeholder images. You may prefer to recreate them exactly in Microsoft Word for the final submission.)*

3.5.2 Data Flow Diagram (DFD - Level 1):
This diagram maps the internal data routing between specific operational modules identified in the source code.

![DFD Level 1](C:\Users\admin\.gemini\antigravity-ide\brain\7b6c0971-bb7b-4823-9e1e-90ee70faf473\dfd_level_1_1784627495878.png)


3.6 Module Interaction:
The interaction across CarePulse modules begins when the ESP32 hardware reads analog moisture levels and battery voltage, securely transmitting the data via an HTTP POST request to the backend's `/telemetry` API endpoint. The FastAPI backend instantly validates the packet and places it into an asynchronous `BackgroundTasks` queue. The Telemetry Processing Pipeline (Algorithm 1) extracts the raw data, maps the device ID to a registered patient, deduplicates redundant readings into meaningful monitoring events, evaluates thresholds for generating or resolving alerts, and commits the records to the SQLite database. 

If conditions are met, the backend triggers the AI Service (Algorithm 2) to dynamically calculate composite risk scores and query the Google Gemini API for narrative health insights. Simultaneously, the React frontend periodically polls the backend APIs (using secure JWT authentication) to fetch these updated SQLite records, rendering the real-time telemetry charts, unresolved alerts, and AI insights directly on the caregivers' web dashboard.

# CHAPTER 4

4. DATABASE DESIGN

4.1 Introduction:
A database is essentially a set of related data that can vary in size and complexity. Through the use of a database, data can be easily stored, updated, and retrieved. The main objective of a database is to provide the information that users need to complete their workflows efficiently. The database design is accomplished prior to building the user interface so that it meets the system's needs. For CarePulse, the backend utilizes SQLAlchemy as the Object-Relational Mapper (ORM), enforcing physical database rules directly from Python code.

4.2 Purpose and Scope:
A well-structured database minimizes redundancy and ensures data integrity. It follows sound design principles and is easy to navigate. By properly mapping Foreign Keys and cascade behaviors, CarePulse ensures that if a patient record is purged, all related historical alerts and telemetry events are also removed, preventing orphaned data. 
The scope of this database includes:
*   Fast retrieval of patient profiles and real-time alerts.
*   Secure storage of hashed user credentials.
*   Efficient time-series storage for continuous IoT telemetry readings.

4.3 Database Identification:
The following naming conventions and rules are enforced by the SQLAlchemy implementation:

Naming Convention:
*   Identifiers are written entirely in lowercase.
*   Table names are plural nouns describing the entity (e.g., `patients`, `alerts`).
*   Column names are descriptive and separate words using underscores (e.g., `wetness_percent`, `device_id`).

Table Convention:
*   Space is not included in database table names and column names.
*   Primary keys are consistently named `id`.
*   Foreign keys explicitly reference the parent table (e.g., `patient_id` referencing `patients.id`).

4.4 Schema Information:
A schema is the structure behind organizing data. It visually and logically represents how table relationships establish business rules. The following tables are explicitly defined in the CarePulse backend implementation using SQLAlchemy datatypes.

1. Table Name: patients
Description: Stores primary patient details, location, and assigned IoT device.

| Column | Datatype | Nullable | Default / Index |
| :--- | :--- | :--- | :--- |
| id | Integer | False | Primary Key, Index |
| name | String(100) | False | — |
| age | Integer | False | — |
| ward | String(100) | False | — |
| room | String(20) | False | — |
| condition | String(200) | False | — |
| caregiver_name | String(100) | False | — |
| notes | Text | True | — |
| device_id | String(50) | False | Unique |
| is_archived | Boolean | False | Default: False |
| disease | String(200) | True | — |
| disease_severity | String(20) | True | — |
| diagnosis_date | Date | True | — |
| created_at | DateTime | False | server_default=func.now() |
| updated_at | DateTime | False | server_default=func.now(), onupdate |

2. Table Name: alerts
Description: Stores automated alerts generated when telemetry thresholds are crossed.

| Column | Datatype | Nullable | Default / Index |
| :--- | :--- | :--- | :--- |
| id | Integer | False | Primary Key, Index |
| patient_id | Integer | False | FK (patients.id), Index, ON DELETE CASCADE |
| alert_type | String(50) | False | — |
| severity | String(20) | False | — |
| message | Text | False | — |
| resolved | Boolean | False | Default: False |
| resolved_at | DateTime | True | — |
| created_at | DateTime | False | server_default=func.now(), Index |

*(Note on Verification: The `backend/app/models.py` file explicitly implements cascading deletes using both database-level `ForeignKey(..., ondelete="CASCADE")` and ORM-level `relationship(..., cascade="all, delete-orphan")`)*

3. Table Name: urination_events
Description: Stores meaningful monitoring events and state transitions calculated from raw telemetry.

| Column | Datatype | Nullable | Default / Index |
| :--- | :--- | :--- | :--- |
| id | Integer | False | Primary Key, Index |
| patient_id | Integer | False | FK (patients.id), Index, ON DELETE CASCADE |
| wetness_percent | Float | False | — |
| wetness_level | String(30) | False | — |
| battery_percent | Float | False | — |
| device_status | String(20) | False | — |
| recorded_at | DateTime | False | Index |
| created_at | DateTime | False | server_default=func.now() |

4. Table Name: ai_insights
Description: Stores composite risk scores, trend analyses, and AI-generated monitoring insights.

| Column | Datatype | Nullable | Default / Index |
| :--- | :--- | :--- | :--- |
| id | Integer | False | Primary Key, Index |
| patient_id | Integer | False | FK (patients.id), Index, ON DELETE CASCADE |
| risk_score | Integer | False | — |
| risk_level | String(20) | False | — |
| trend_direction | String(10) | False | — |
| trend_percent | Float | False | — |
| insight_text | Text | False | — |
| risk_explanation | Text | True | — |
| recommendation | Text | False | — |
| monitoring_advice | Text | True | — |
| confidence | Float | False | — |
| tags | String(500) | True | — |
| generated_by | String(50) | False | Default: "rule_engine" |
| generated_at | DateTime | False | Index |
| created_at | DateTime | False | server_default=func.now() |

5. Table Name: users
Description: Stores system user accounts for authentication and access control.

| Column | Datatype | Nullable | Default / Index |
| :--- | :--- | :--- | :--- |
| id | Integer | False | Primary Key, Index |
| full_name | String(100) | False | — |
| email | String(100) | False | Unique, Index |
| password_hash | String(255) | False | — |
| role | String(50) | False | — |
| created_at | DateTime | False | server_default=func.now() |

6. Table Name: telemetry
Description: Stores raw, unlinked sensor packets directly from the ESP32 hardware before deduplication.

| Column | Datatype | Nullable | Default / Index |
| :--- | :--- | :--- | :--- |
| id | Integer | False | Primary Key, Index |
| device_id | String(50) | False | Index |
| moisture_raw | Integer | False | — |
| wetness_percent | Integer | False | — |
| battery_percent | Integer | False | — |
| wifi_rssi | Integer | True | — |
| firmware_version | String(20) | True | — |
| esp32_timestamp | DateTime | True | — |
| processed | Boolean | False | Default: False |
| created_at | DateTime | False | server_default=func.now(), Index |

4.4.1 Table Relationships:
The database leverages relational mapping to maintain integrity between entities.
*   One Patient can have many Alerts. (1:N)
*   One Patient can have many Urination Events. (1:N)
*   One Patient can have many AI Insights. (1:N)
*   One Device generates many Telemetry records. (1:N logical mapping via `device_id`)
*   One User can access the system according to the assigned role. (Standalone authentication entity)

4.5 Database Normalization:
Normalization is the process of organizing data in a database to reduce redundancy and improve data integrity. The CarePulse schema strictly follows standard normalization forms:
*   First Normal Form (1NF): Each column contains atomic values, and every record is uniquely identifiable by a primary key (`id`). 
*   Second Normal Form (2NF): All non-key attributes are fully functionally dependent on the primary key, eliminating partial dependencies.
*   Third Normal Form (3NF): There are no transitive dependencies; every non-key column depends only on the primary key. 

4.6 Data Dictionary:
A data dictionary is a centralized repository of information about data, explaining its meaning, relationship, and format.

1. Patients Table
| Content Type | Attribute | Format | Example |
| :--- | :--- | :--- | :--- |
| Primary Key | id | Integer | 1 |
| Patient Name | name | String(100) | John Doe |
| Medical Info | condition | String(200) | Post-Surgery Recovery |
| Associated IoT | device_id | String(50) | CP-DEV-001 |

2. Alerts Table
| Content Type | Attribute | Format | Example |
| :--- | :--- | :--- | :--- |
| Primary Key | id | Integer | 15 |
| Category | alert_type | String(50) | high_wetness |
| Urgency | severity | String(20) | critical |
| Clearance | resolved | Boolean | True / False |

3. Urination Events Table
| Content Type | Attribute | Format | Example |
| :--- | :--- | :--- | :--- |
| Primary Key | id | Integer | 1042 |
| Metric | wetness_percent| Float | 85.5 |
| Label | wetness_level | String(30) | saturated |

4. AI Insights Table
| Content Type | Attribute | Format | Example |
| :--- | :--- | :--- | :--- |
| Risk Value | risk_score | Integer | 72 |
| Metric | trend_percent | Float | 15.2 |
| Output Content| insight_text | Text | High frequency detected... |

5. Users Table
| Content Type | Attribute | Format | Example |
| :--- | :--- | :--- | :--- |
| Email Address | email | String(100) | admin@carepulse.com |
| Security | password_hash | String(255) | $2b$12$e... |
| Privilege Level | role | String(50) | admin / caregiver |

6. Telemetry Table
| Content Type | Attribute | Format | Example |
| :--- | :--- | :--- | :--- |
| Hardware ID | device_id | String(50) | ESP32-MAC-A1 |
| Raw Data | moisture_raw | Integer | 3210 |
| Job Status | processed | Boolean | True / False |

4.7 ER Diagram:
An Entity-Relationship Diagram using Crow's Foot notation visually demonstrates the relationships and cardinalities between the normalized tables in the CarePulse system.

Figure 4.1 Entity Relationship Diagram

[Insert Diagram]

Source: Developed for the CarePulse System

4.8 Advantages of the Database Design:
The CarePulse database design provides the following advantages:
*   Reduced Redundancy: Adhering to 3NF ensures that data such as patient demographic information is not duplicated across alert and event tables.
*   Referential Integrity: The implementation of cascading Foreign Keys (`ON DELETE CASCADE`) natively safeguards against orphaned rows.
*   Faster Retrieval: Strategic indices on frequently queried time-series elements (like `created_at` and `device_id`) drastically reduce query execution times for real-time charting.
*   Better Scalability: The explicit string boundaries and timestamp structures natively mapped in SQLAlchemy allows the application to migrate from the development database to a production relational database with minimal code changes.
*   Easier Maintenance: The clear decoupling of the raw `telemetry` table from the processed `urination_events` table ensures that high-volume incoming sensor noise does not interfere with the performance of structured dashboard queries.

# CHAPTER 5

5. DETAILED DESIGN

5.1 Introduction:
Detailed design is the phase where the architectural structure of the system is broken down into individualized software modules. The objective is to define the exact internal logic, processing steps, inputs, and outputs of each component. This chapter translates the system-level architectures from Chapter 3 into programmatic implementation details, rigorously mapped to the CarePulse Python and React source code. It includes modular decomposition, error handling, alongside publication-quality diagrams to visualize the implemented object relationships and execution flow.

5.2 Structure of the Software Package:
The CarePulse application is structured as a decoupled full-stack package. The following directory tree illustrates the primary implementation boundaries:

```text
CarePulse/
├── backend/
│   ├── app/
│   │   ├── routers/        # FastAPI REST endpoint definitions
│   │   ├── services/       # Core business logic and AI processing algorithms
│   │   ├── models.py       # SQLAlchemy ORM table definitions
│   │   ├── crud.py         # Database query extraction and manipulation
│   │   ├── security.py     # JWT token generation and bcrypt hashing
│   │   ├── database.py     # SQLite connection and session management
│   │   └── main.py         # Application entry point and BackgroundTasks
│   └── requirements.txt    # Python dependencies
├── src/
│   ├── components/         # Reusable React UI elements (Tailwind CSS)
│   ├── pages/              # Primary dashboard views
│   ├── services/           # Frontend API fetch configurations
│   └── App.tsx             # React Router configuration
└── hardware/
    ├── final_frimware/     # ESP32 C++ source code
    └── telemetry_sender/   # Analog sensor capture logic
```

5.3 Modular Decomposition:
The system is divided into six core functional modules implemented in the backend. 

Module Interaction Flow:
To provide real-time updates without blocking the hardware, the major components interact sequentially. Figure 5.1 depicts how raw analog signals originate at the edge device and terminate as actionable clinical narratives on the dashboard.

Figure 5.1 Module Interaction Diagram

[Insert Diagram]

Source: Developed for the CarePulse System

5.3.1 Authentication Module
*   Purpose: Validates user credentials and issues JSON Web Tokens (JWT) for secure REST API access.
*   Inputs: JSON payload containing `username` (email) and `password`.
*   Processing: Queries the database for the user email, verifies the password hash using the `bcrypt` algorithm, and securely encodes a JWT containing the user's ID and role with an expiration timestamp.
*   Outputs: A JSON response containing `access_token` and `token_type` (Bearer).
*   File I/O: Reads from the `users` SQLite table.
*   Error Handling: Returns an HTTP 401 Unauthorized status if credentials do not match or if the token is expired.
*   Implementation Details: Utilizes FastAPI's native `OAuth2PasswordRequestForm` dependency for standard OAuth2 flow, alongside the `passlib` and `python-jose` libraries for cryptography.
*   Source Files Used: `backend/app/routers/auth.py`, `backend/app/security.py`

5.3.2 Patient Management Module
*   Purpose: Manages the lifecycle of patient profiles, including demographic updates, disease assignments, and hardware device mapping.
*   Inputs: Patient data structure (Name, Age, Ward, Room, Condition, Disease, Disease Severity, Device ID).
*   Processing: Validates that the provided `device_id` is unique and not assigned to another active patient. Supports soft-deletion by toggling an `is_archived` flag rather than hard-deleting the row.
*   Outputs: JSON array of serialized `Patient` schemas.
*   File I/O: Reads and Writes to the `patients` table.
*   Error Handling: Prevents duplicate device assignments by explicitly raising an HTTP 409 Conflict if a `device_id` is already mapped to a different active patient.
*   Implementation Details: Uses SQLAlchemy session queries to perform CRUD (Create, Read, Update, Delete) operations.
*   Source Files Used: `backend/app/routers/patients.py`, `backend/app/crud.py`

5.3.3 Telemetry Ingestion Module
*   Purpose: Ingests high-frequency, unauthenticated HTTP POST requests from headless ESP32 edge devices.
*   Inputs: JSON payload containing `device_id`, `moisture_raw`, `wetness_percent`, and `battery_percent`.
*   Processing: Validates the incoming payload and instantly returns a 200 OK response to the hardware to prevent timeouts. The heavy processing (state deduplication, alert threshold evaluation) is passed to an asynchronous background queue.
*   Outputs: HTTP 200 OK Status.
*   File I/O: Appends raw packets to the `telemetry` table and meaningful state transitions to the `urination_events` table.
*   Error Handling: Rejects malformed JSON telemetry packets with an HTTP 422 Unprocessable Entity error natively via Pydantic schema validation.
*   Implementation Details: Utilizes FastAPI's `BackgroundTasks` feature to decouple HTTP ingestion from heavy database I/O processing.
*   Source Files Used: `backend/app/routers/telemetry.py`, `backend/app/services/telemetry_processor.py`

5.3.4 Alerts Module
*   Purpose: Provides dynamic filtering and retrieval of system alerts for the caregiver dashboard.
*   Inputs: Optional URL query parameters (`resolved` state, `severity`, `alert_type`, pagination limits).
*   Processing: Dynamically chains SQLAlchemy `.filter()` clauses based on the presence of query parameters. Resolves sorting explicitly at the database level by ordering unresolved alerts first (`Alert.resolved.asc()`), and within those groups, ordering by the most recently created alerts (`Alert.created_at.desc()`).
*   Outputs: A filtered JSON array of `Alert` objects.
*   File I/O: Reads from the `alerts` table.
*   Error Handling: Ensures missing or invalid pagination integer bounds are corrected or rejected with an HTTP 422 error.
*   Implementation Details: Implements server-side pagination (`skip`, `limit`) to optimize payload sizes.
*   Source Files Used: `backend/app/routers/alerts.py`, `backend/app/crud.py`

5.3.5 Devices Module
*   Purpose: Aggregates real-time network connectivity status and metadata for all IoT hardware.
*   Inputs: None (HTTP GET request).
*   Processing: Executes a subquery to find the maximum `created_at` timestamp for each grouped `device_id`. A hardcoded validation checks if the device's last packet was received within the last 30 seconds. If `True`, it is marked as "online", otherwise "offline". Matches the device string to its active patient.
*   Outputs: Array of device objects containing connection status, Wi-Fi RSSI, firmware version, and patient assignments.
*   File I/O: Performs a SQL JOIN between the `telemetry` and `patients` tables.
*   Error Handling: Fails gracefully by reporting a device as "offline" if its telemetry records are missing or corrupted.
*   Implementation Details: Calculates the delta between the server's `datetime.utcnow()` and the subquery's `last_packet` timestamp to deduce connectivity without requiring bi-directional WebSocket ping-pongs.
*   Source Files Used: `backend/app/routers/devices.py`

5.3.6 AI Rule Engine & Insights Module
*   Purpose: Calculates composite risk scores based on historical data and queries the Google Gemini API for natural language health summaries.
*   Inputs: 7 days of historical `UrinationEvents` and `Alerts`, combined with the patient's assigned disease baseline.
*   Processing: Executes an 8-step algorithmic weighting formula to calculate a 0-100 risk score and trend direction. Dynamically formats a text prompt injected with real statistical data, configures the `google-genai` client, and invokes the `gemini-2.5-flash` model endpoint over the network.
*   Outputs: Structured `AIInsight` record containing insights, monitoring advice, and confidence metrics.
*   File I/O: Reads from multiple tables and writes results to the `ai_insights` table.
*   Error Handling: If the Gemini API call fails, it automatically executes a fixed-delay retry loop (1-second pause, maximum 2 attempts) before throwing a RuntimeError. If the `GEMINI_API_KEY` is missing, it explicitly returns an HTTP 503 Service Unavailable error.
*   Implementation Details: Enforces a 300-second (5-minute) cooldown timer to prevent excessive API requests to the external endpoint during high-frequency telemetry states.
*   Source Files Used: `backend/app/services/disease_ai.py`, `backend/app/routers/gemini.py`, `backend/app/services/gemini_service.py`

# CHAPTER 6

6. IMPLEMENTATION AND CODING

6.1 Introduction:
Implementation is the phase of the project where the theoretical design is translated into functional software. This chapter details the coding practices, development environment, and core logic snippets used to build the CarePulse system. The implementation strictly adheres to modern software engineering principles, ensuring efficient integration between the backend APIs, edge processing, and frontend user interface.

6.2 Platform and Tools Used:
The CarePulse system was developed using a modern, decoupled technology stack to ensure scalability and rapid iteration.
* Backend Framework: FastAPI (Python 3.10+) – Chosen for its high performance, native async support, and automatic OpenAPI documentation generation.
* Frontend Library: React 18 with TypeScript – Chosen for building a robust, component-based user interface.
* Styling: Tailwind CSS – A utility-first CSS framework for rapidly building custom, responsive UI designs.
* Database: SQLite – Embedded relational database used during development, mapped via SQLAlchemy ORM for seamless future migrations to PostgreSQL or MySQL.
* Package Managers: npm (Node Package Manager) for frontend dependencies and pip for Python backend dependencies.
* Edge Hardware SDK: PlatformIO / Arduino IDE – Used to compile and flash the C++ firmware onto the ESP32 microcontroller.
* IDE: Visual Studio Code – The primary code editor used across all project layers.

Figure 6.1 Implementation Workflow
[Insert Diagram]
Source: Developed for the CarePulse System

6.3 Code Implementation:
The following sections highlight critical segments of the CarePulse backend codebase, demonstrating how complex requirements were implemented programmatically.

6.3.1 Asynchronous Telemetry Ingestion (FastAPI)
To prevent the ESP32 hardware from timing out while the server processes data, CarePulse utilizes FastAPI's BackgroundTasks. The API endpoint instantly validates the payload, saves the raw data, and returns a 201 Created status to the hardware. 

Listing 6.1: Asynchronous Telemetry Ingestion
```python
@router.post("", response_model=TelemetryOut, status_code=status.HTTP_201_CREATED)
def create_telemetry(data: TelemetryCreate, background_tasks: BackgroundTasks, db: Session = Depends(get_db)):
    record = crud.create_telemetry(db, data)
    background_tasks.add_task(process_telemetry_packet, record.id)
    return record
```
Source: Developed from the CarePulse source code (backend/app/routers/telemetry.py)
Explanation: This implementation uses FastAPI's BackgroundTasks to process telemetry asynchronously, allowing the ESP32 device to receive an immediate response while the heavier analytical processing and database updates occur in the background without blocking the network thread.

6.3.2 Composite Risk Engine Algorithm (Python)
The core AI intelligence of CarePulse relies on a deterministic rule engine that aggregates multiple risk vectors. The algorithm combines raw telemetry (0–40 points), alert history (0–25 points), disease severity (0–20 points), and baseline disease profiles (0–15 points) to generate a 0–100 risk score.

Listing 6.2: Composite Risk Calculation
```python
def calculate_base_risk(patient: Patient, telemetry: Dict[str, Any], alerts: Dict[str, Any]) -> Dict[str, Any]:
    # Logic to normalize telemetry, alerts, severity, and disease baseline
    raw_score = telemetry_score + alert_score + severity_score + disease_base
    score = int(min(100, max(0, round(raw_score))))
    if score >= 80: risk_level = "critical"
    elif score >= 60: risk_level = "high"
    elif score >= 40: risk_level = "moderate"
    else: risk_level = "low"
    return {"score": score, "level": risk_level}
```
Source: Developed from the CarePulse source code (backend/app/services/disease_ai.py)
Explanation: This snippet demonstrates the strict mathematical weighting system used by the application to compute an actionable risk score. By clamping maximum values natively, the application ensures the score never exceeds its defined 0–100 boundary.

6.3.3 REST API Implementation
The application adheres strictly to REST principles, mapping HTTP verbs to specific CRUD actions.

Table 6.1: REST API Routes
Method | Endpoint | Purpose
POST | /auth/login | Authenticate user credentials and return a Bearer token.
GET | /patients | Retrieve paginated active and archived patients.
POST | /telemetry | Ingest and validate sensor packets from the ESP32.
GET | /alerts | Retrieve active system alerts sorted by severity and time.
GET | /devices | Retrieve hardware status and patient assignment mapping.
POST | /gemini/report/{id} | Generate a natural-language AI insight for a patient.

6.4 Database Implementation:
By defining models as Python classes, the application enforces referential integrity automatically. 

Listing 6.3: Patient SQLAlchemy Model
```python
class Patient(Base):
    __tablename__ = "patients"
    id: Mapped[int] = mapped_column(Integer, primary_key=True, index=True)
    name: Mapped[str] = mapped_column(String(100), nullable=False)
    alerts: Mapped[list["Alert"]] = relationship("Alert", back_populates="patient", cascade="all, delete-orphan")
```
Source: Developed from the CarePulse source code (backend/app/models.py)
Explanation: This model configuration utilizes SQLAlchemy's ORM capabilities to explicitly define database-level types, nullability, and unique constraints. The inclusion of cascade="all, delete-orphan" prevents orphaned records.

6.5 User Interface Implementation:
The frontend translates the robust backend logic into a cohesive, user-friendly caregiver dashboard.

6.5.1 Component-Based Architecture
The application UI is broken down into small, reusable React pieces rather than monolithic files. For example, the Sidebar layout, PatientFormModal, and LiveTelemetryCard are self-contained.

6.5.2 Responsive UI using Tailwind CSS
Instead of writing custom CSS stylesheets, Tailwind CSS utility classes are injected directly into the JSX markup to style components conditionally.

Listing 6.4: Conditional Tailwind CSS Rendering
```tsx
<NavLink className={cn('sidebar-item group', isActive && 'active')}>
    <Icon className={cn('w-5 h-5 transition-colors', isActive ? 'text-white' : 'text-slate-400 group-hover:text-white')} />
</NavLink>
```
Source: Developed from the CarePulse source code (src/components/layout/Sidebar.tsx)
Explanation: This frontend snippet demonstrates how React state (isActive) is seamlessly combined with a utility function (cn) to dynamically alter the Tailwind CSS classes of the navigation links.

6.5.3 API Integration and State Management
To handle state and HTTP requests, the frontend implements dedicated service files (authService.ts, patientService.ts) that utilize the axios API. These services attach the JWT Bearer token to every request and parse the JSON responses back into strongly-typed TypeScript interfaces.

6.6 Implementation Screenshots

Figure 6.2 Login Screen
[Insert Screenshot of Login Page]
Source: CarePulse Application

Figure 6.3 Caregiver Dashboard
[Insert Screenshot of Dashboard]
Source: CarePulse Application

Figure 6.4 Patient Management Module
[Insert Screenshot of Patient Management]
Source: CarePulse Application

Figure 6.5 Alert Center
[Insert Screenshot of Alerts]
Source: CarePulse Application

Figure 6.6 Analytics Trends
[Insert Screenshot of Analytics]
Source: CarePulse Application

Figure 6.7 Device Monitoring
[Insert Screenshot of Device Monitoring]
Source: CarePulse Application

6.7 Chapter Summary:
This chapter highlighted the practical implementation of the CarePulse system. It outlined the modern web development technologies chosen for the project and provided specific code snippets demonstrating background concurrency, algorithmic risk calculation, and ORM database mapping. The inclusion of REST API routes, frontend React components, and final application screenshots verifies that the conceptual architectures designed in previous chapters were successfully developed into a functional software product.

# CHAPTER 7

7. SOFTWARE TESTING

7.1 Introduction:
Software testing is a critical phase of the development life cycle designed to identify errors, gaps, or missing requirements in contrast to the actual requirements. It evaluates the functionality of the software application with the intent to find whether the developed software met the specified requirements and identifies any defects to ensure that the product is defect-free. For the CarePulse system, a rigorous testing approach was adopted to ensure that real-time telemetry processing, database concurrency, and AI interactions execute flawlessly without blocking edge hardware.

7.2 Testing Strategies:
The testing process was divided into several levels to isolate specific components and verify their integration.
* Unit Validation: Core functions, particularly the mathematical rule engine calculations (e.g., calculate_base_risk, compute_confidence), were manually validated using representative and boundary-value inputs during development to ensure the algorithm never produces scores outside the 0–100 limits.
* Integration Testing: Integration between the React frontend and FastAPI backend was validated through functional testing of API communication, particularly verifying JWT Bearer token headers and payload structures.
* System Testing: Validated the complete end-to-end flow from the ESP32 hardware sending a POST payload to the server updating the SQLite database, and the dashboard accurately reflecting the new UrinationEvent upon refresh.
* Regression Testing: Ensures that new code modifications (such as archiving logic) do not break existing telemetry workflows via automated programmatic execution.

7.3 Test Cases:
The following test cases represent a subset of the critical functional tests executed during the system testing phase.

Table 7.1: Test Case TC01 – JWT Authentication
* Description: Verify that invalid credentials return an HTTP 401 Unauthorized status and valid credentials return an access token.
* Input Data: Email: admin@carepulse.com, Password: admin123
* Expected Output: JSON response containing access_token and token_type "Bearer".
* Actual Output: Token successfully generated and returned; HTTP 200 OK.
* Status: PASS

Table 7.2: Test Case TC02 – Hardware Mapping Conflict Prevention
* Description: Verify that assigning an active device_id to a newly created patient is rejected.
* Input Data: POST /patients with device_id equal to a currently assigned device.
* Expected Output: The transaction is rolled back and an HTTP 409 Conflict error is returned to the user.
* Actual Output: HTTP 409 Conflict returned with descriptive error message.
* Status: PASS

Table 7.3: Test Case TC03 – Non-Destructive Archiving (Soft Delete)
* Description: Verify that archiving a patient preserves their historical alerts and frees up their device_id for reuse.
* Input Data: PATCH /patients/{patient_id}/archive
* Expected Output: The patient's is_archived flag is set to True, the physical row remains in the database, and their historical alerts remain intact. The device_id becomes available.
* Actual Output: Historical alerts preserved; device_id successfully reused for a new patient.
* Status: PASS

Table 7.4: Test Case TC04 – Asynchronous Telemetry Ingestion
* Description: Verify that an ESP32 telemetry packet with a 90% wetness value successfully triggers a high_wetness alert in the database without blocking the HTTP response.
* Input Data: POST /telemetry containing "wetness_percent": 90
* Expected Output: Immediate HTTP 201 Created response. A background task creates an Alert record in the database.
* Actual Output: Dashboard stats updated to reflect 1 new event and 1 active alert upon refresh.
* Status: PASS

7.4 Automated Regression Testing:
To validate the system architecture continuously, a custom regression testing suite was implemented programmatically (backend/run_regression_test.py). 

The script systematically verifies the critical path of the application using the requests library:
1. Authentication: Authenticates dynamically and extracts the Bearer token.
2. Patient Creation: Creates a temporary test patient and binds a test device_id.
3. Telemetry Simulation: Simulates an ESP32 hardware packet that crosses the critical wetness threshold.
4. State Verification: Queries the /alerts and /dashboard/stats endpoints to verify that the background rule engine accurately generated the corresponding high_wetness alert.
5. Device Connectivity: Queries the /devices endpoint to verify the mock hardware is correctly reporting online with accurate Wi-Fi RSSI metrics.
6. Archiving and Reuse: Archives the test patient, verifies the alerts are preserved, and ensures the device_id can be safely reassigned to a new patient without conflict.

By executing this automated script, developers ensure that complex SQL relational cascades and background thread deduplication logic remain intact as the software evolves.

7.5 Testing Summary and Validation Evidence:
To consolidate the testing outcomes across all modules, the following table summarizes the overall functional status of the application components. Furthermore, execution screenshots validate the successful execution of the core scenarios.

Table 7.5: Consolidated Testing Summary
Test Type | Result
Authentication | Pass
Patient Management | Pass
Telemetry Ingestion | Pass
Alert Generation | Pass
Device Monitoring | Pass
AI Insights | Pass

Figure 7.1 Automated Regression Script Execution
[Insert Screenshot of Terminal executing run_regression_test.py]
Source: CarePulse System Testing Environment

Figure 7.2 Successful Authentication Validation
[Insert Screenshot of Login Success/Token Storage]
Source: CarePulse System Testing Environment

Figure 7.3 Patient Creation Conflict Validation
[Insert Screenshot of HTTP 409 Error on UI]
Source: CarePulse System Testing Environment

Figure 7.4 Dashboard Telemetry Verification
[Insert Screenshot of Dashboard updating after simulated telemetry]
Source: CarePulse System Testing Environment

7.6 Chapter Summary:
This chapter described the comprehensive testing methodologies applied to the CarePulse software project. By outlining detailed test cases and implementing a programmatic regression test suite, the reliability, security, and data integrity of the system were thoroughly validated. The successful execution of these test cases confirms that the system meets its foundational requirements and is resilient against unexpected inputs and concurrency edge cases.

# CHAPTER 8

8. CONCLUSION AND FUTURE ENHANCEMENTS

8.1 Conclusion:
The development of the CarePulse Smart Monitoring System successfully demonstrates the integration of Internet of Things (IoT) hardware with a modern, decoupled web architecture. By replacing manual, periodic caregiver checks with continuous, real-time sensor telemetry, the system is designed to support patient hygiene management while reducing the need for frequent manual monitoring by caregivers. 

The implementation of a deterministic disease-aware Rule Engine, layered with Google Gemini’s natural language generation, bridges the gap between raw hardware signals and meaningful health-monitoring insights. The backend architecture, built on FastAPI and SQLite, successfully utilizes asynchronous background tasks to process high-frequency data without blocking edge devices. Meanwhile, the React and Tailwind CSS frontend provides a highly responsive, component-based dashboard that centralizes patient data, analytics, and critical alerts into a single cohesive interface. Overall, the implementation demonstrates that the proposed CarePulse architecture successfully integrates IoT hardware, web technologies, database management, and AI-assisted monitoring into a functional prototype suitable for academic evaluation and future enhancement.

8.2 Limitations:
While the current implementation of CarePulse is robust, certain limitations exist within the scope of the project:
* Network Dependency: The ESP32 edge devices require a continuous Wi-Fi connection to transmit telemetry. In environments with poor network infrastructure, sensor data may be dropped, as local hardware caching is not fully implemented.
* External API Reliance: The generation of natural language monitoring narratives relies entirely on the external Google Gemini API. If the API rate limits are exceeded or the service experiences downtime, the system falls back to generating insights strictly using the internal Rule Engine.
* Hardware Constraints: The current iteration relies on battery-powered edge hardware. While battery levels are tracked and reported in the dashboard, there is no physical backup power supply for the sensor in the event of a sudden battery failure.
* Aggressive Polling Thresholds: The system currently flags devices as "offline" if a telemetry packet is not received within 30 seconds. In clinical environments with high network latency, this strict threshold could lead to false-positive offline alerts.
* Development Validation: The current implementation has been validated primarily in a controlled development environment using simulated and limited real telemetry rather than large-scale clinical deployment.

8.3 Future Enhancements:
To transition CarePulse from a functional prototype to an enterprise-grade medical monitoring solution, the following enhancements are proposed for future iterations:
* Local Hardware Caching (Edge Computing): Implementing an SD card module or utilizing the ESP32's flash memory to cache telemetry packets locally when Wi-Fi drops, pushing the data to the server in bulk once the connection is restored.
* Mobile Application Development: Developing a companion mobile application using React Native or Flutter to provide caregivers with instant push notifications, bypassing the need to actively monitor a web dashboard.
* Database Migration: Upgrading the current SQLite embedded database to a clustered PostgreSQL or MySQL environment to support high availability, horizontal scaling, and faster execution of complex time-series analytical queries.
* Predictive Machine Learning (TinyML): Integrating lightweight machine learning models directly onto the ESP32 microcontroller to perform preliminary wetness classification locally before transmitting summarized telemetry to the backend, thereby reducing required bandwidth.
* Wearable Integration: Expanding the sensor suite to monitor additional vital signs (e.g., skin temperature, heart rate) alongside moisture levels, providing a more comprehensive holistic view of patient health.

8.4 Project Outcome:
The CarePulse system successfully achieved the objectives established at the beginning of the project. The developed prototype demonstrates:
* Real-time ESP32 telemetry collection
* Secure FastAPI REST APIs with JWT authentication
* Patient and device lifecycle management
* Automated alert generation based on deterministic rule-based analysis
* AI-assisted monitoring insights utilizing Google Gemini
* An interactive React dashboard featuring statistical analytics and device monitoring

The project establishes a strong technical foundation for future research and development in IoT-enabled healthcare monitoring systems.

# 9. REFERENCES

* React Documentation. (n.d.). Retrieved from https://react.dev
* FastAPI Documentation. (n.d.). Retrieved from https://fastapi.tiangolo.com
* SQLAlchemy Documentation. (n.d.). Retrieved from https://www.sqlalchemy.org
* Espressif ESP32 Documentation. (n.d.). Retrieved from https://docs.espressif.com
* Google Gemini API Documentation. (n.d.). Retrieved from https://ai.google.dev